## Table of Contents
GridPath EI Resource Adequacy Study
Summary Appendix Tables
Table of Contents
Table 1: Seasonal Peak Demand by Region, by Weather Year
Table 2: Installed Capacity by Region, by Type
Table 3: Region-to-Region Seasonal Transfer Capability
Table 4: Total Import Capabilities
Table 5: Proxy Import Generators from Western Interconnection and Canada
Last Update: 6/26/2025
Visit the project website for more information:
gridlab.org/GridPath_EI
Hourly data, generator characteristics, and additional data is availble on the project GitHub repository:
https://github.com/Telos-Energy/GridPath_EI

## Peak Demand
Table 1: Seasonal Peak Demand by Region (Coincident) and Subregion (Non-coincident) (2028), by Weather Year
Region | Season | WY 2007 | WY 2008 | WY 2009 | WY 2010 | WY 2011 | WY 2012 | WY 2013 | WY 2019 | WY 2020 | WY 2021 | WY 2022 | WY 2023 | Median
SPP | Summer | 61244.83 | 61062.52 | 61543.53 | 61953.47 | 63548.94 | 63186.38 | 60319.89 | 61753.0614 | 59919.8086 | 62104.88 | 64354.0468 | 67395.4014 | 61853.2657
| Winter | 48594.37 | 50998.39 | 51281.64 | 53073.84 | 49823.16 | 46545.7 | 48696.34 | 51289.88 | 49201.1577 | 53921.9126 | 57514.994 | 50971.61 | 50985
SPP-N | Summer | 14099.6487 | 14236.3207 | 13919.2016 | 14588.9615 | 14967.6411 | 14615.5338 | 14058.0164 | 14029.7211 | 13493.451 | 14094.2362 | 14550.7695 | 14978.7588 | 14167.9847
| Winter | 12567.2251 | 13619.0416 | 13692.3888 | 13601.7442 | 12982.4832 | 12333.2086 | 13038.3537 | 13556.5574 | 12820.4073 | 14044.0572 | 15221.4973 | 13182.5048 | 13369.5311
SPP-S | Summer | 47498.4262 | 47241.8948 | 48057.4982 | 47857.8786 | 49095.8657 | 49066.8272 | 46630.6922 | 48079.4292 | 46652.1032 | 48062.6583 | 49803.2774 | 52472.4177 | 48060.0783
| Winter | 36140.6227 | 37390.4979 | 38026.5935 | 39472.0958 | 36840.6768 | 34812.7272 | 35702.7035 | 37733.3226 | 36380.7505 | 39877.8554 | 42293.4967 | 37908.6245 | 37561.9103
MISO | Summer | 127827.657 | 123418.08 | 130785.03 | 128066.481 | 134236.422 | 134118.936 | 126920.511 | 132602.9302 | 129173.781 | 130675.7643 | 132892.4497 | 137438.2283 | 130730.3972
| Winter | 108617.733 | 112034.457 | 120997.098 | 113394.213 | 112861.674 | 103761.324 | 109330.353 | 114795.9652 | 109607.1071 | 115747.9201 | 118710.0038 | 109247.5628 | 112448.0655
MISO-W | Summer | 36708.597 | 34732.521 | 36854.01 | 37342.251 | 39275.955 | 39228.768 | 38178.135 | 37342.251 | 36006.8586 | 36642.3696 | 37429.6779 | 38389.1099 | 37342.251
| Winter | 33284.169 | 34396.434 | 36759.636 | 33972.714 | 33927.453 | 32199.831 | 33887.97 | 33927.453 | 32426.7108 | 34366.5879 | 35313.2383 | 32313.1348 | 33927.453
MISO-C | Summer | 36242.505 | 33971.751 | 36070.128 | 35950.716 | 37939.311 | 37151.577 | 35103.276 | 36128.6443 | 34999.5703 | 35494.623 | 36070.128 | 37163.7669 | 36070.128
| Winter | 32059.233 | 33009.714 | 36605.556 | 32697.702 | 32685.183 | 29979.153 | 31642.254 | 32685.183 | 31255.4367 | 32972.0659 | 33126.9394 | 31154.9328 | 32685.183
MISO-E | Summer | 17386.002 | 16851.537 | 18401.967 | 17433.189 | 19054.881 | 19213.776 | 18863.244 | 18709.3739 | 18052.3289 | 18318.1301 | 18401.967 | 19474.2681 | 18401.967
| Winter | 15882.759 | 15729.642 | 17620.974 | 15944.391 | 14971.761 | 15078.654 | 15742.161 | 15742.161 | 15021.0977 | 15986.9823 | 16504.7104 | 14964.5385 | 15742.161
MISO-S | Summer | 40779.198 | 40147.47 | 40666.527 | 39426.183 | 40975.65 | 40544.226 | 39044.835 | 40422.661 | 40115.0232 | 40544.226 | 41283.9748 | 42411.0835 | 40544.226
| Winter | 30862.224 | 32823.855 | 32422.284 | 35625.222 | 33156.09 | 31057.713 | 30528.063 | 32441.1682 | 30903.8619 | 32422.284 | 33765.1157 | 30814.9567 | 32422.284
SERC-C | Summer | 44644.446 | 42167.79 | 41608.728 | 43123.752 | 44024.148 | 44907.534 | 43008.084 | 41780.1103 | 39956.6196 | 43123.752 | 44895.384 | 45752.1372 | 43123.752
| Winter | 39011.868 | 41396.67 | 45796.59 | 41643.882 | 40923.792 | 38040.03 | 38914.344 | 40923.792 | 38347.2673 | 41717.58 | 51576.4789 | 37811.436 | 40923.792
SERC-SE | Summer | 52958.4 | 51695.64 | 49777.02 | 48633.6 | 51242.76 | 52359.66 | 47895.12 | 51687.6806 | 50573.2851 | 51242.76 | 53358.9805 | 50860.5887 | 51242.76
| Winter | 42654.36 | 45645 | 48632.58 | 47538.12 | 48142.98 | 45218.64 | 41598.66 | 45645 | 45523.1479 | 46292.5659 | 49561.5323 | 42052.0077 | 45645
SERC-FL | Summer | 57439.326 | 56150.682 | 58837.128 | 55512.156 | 56418.264 | 56226.996 | 56357.406 | 56357.406 | 56135.761 | 56271.6266 | 59229.4684 | 62466.4442 | 56357.406
| Winter | 44694.888 | 49347.144 | 53659.368 | 59000.382 | 51394.098 | 47887.518 | 46742.808 | 45821.5765 | 49053.501 | 49347.144 | 52819.1805 | 49760.1063 | 49347.144
SERC-E | Summer | 49077.912 | 47973.328 | 47628.516 | 45669.312 | 48133.384 | 48974.172 | 45031.064 | 47335.382 | 47762.4942 | 47973.328 | 49043.9609 | 49199.6878 | 47973.328
| Winter | 42300.232 | 45049.836 | 47019.908 | 45471.712 | 46007.208 | 45144.684 | 42528.46 | 46790.7819 | 44748.2996 | 44880.0254 | 52271.0753 | 45144.684 | 45144.684
PJM | Summer | 176152.933 | 168859.346 | 168911.501 | 174001.829 | 187594.581 | 181942.138 | 181530.693 | 175135.041 | 168012.5086 | 173184.8177 | 173193.4234 | 175095.0231 | 174548.426
| Winter | 159485.354 | 153814.367 | 168626.387 | 155046.384 | 150814.875 | 149851.746 | 155843.776 | 171622.4827 | 148678.5382 | 148189.4134 | 167575.7811 | 151370.123 | 154430.3755
PJM-W | Summer | 82692.332 | 78793.456 | 79670.819 | 82417.649 | 89708.918 | 87316.742 | 85825.109 | 82692.332 | 81344.6561 | 83920.5666 | 83726.862 | 83044.2572 | 82868.2946
| Winter | 78649.74 | 76540.36 | 86275.96 | 76827.792 | 74564.265 | 72414.32 | 76258.723 | 87175.2148 | 75479.1002 | 76540.36 | 85514.434 | 73962.5835 | 76540.36
PJM-S | Summer | 43097.415 | 42180.646 | 41061.052 | 41472.497 | 44393.177 | 43790.497 | 42590.932 | 41703.1271 | 42499.472 | 42590.932 | 44000.5521 | 45018.9216 | 42590.932
| Winter | 37320.959 | 34984.415 | 38263.226 | 36131.825 | 36058.808 | 35358.772 | 36347.399 | 39367.3977 | 33467.6025 | 33736.7785 | 41122.842 | 36131.825 | 36131.825
PJM-E | Summer | 50363.186 | 50998.318 | 49470.756 | 52127.184 | 54824.177 | 53315.159 | 53165.648 | 52127.184 | 50690.0839 | 53410.9168 | 53378.8142 | 51289.5487 | 52127.184
| Winter | 44587.889 | 42848.23 | 45892.923 | 42630.338 | 43337.328 | 42178.328 | 43904.079 | 51603.4318 | 41236.8191 | 41576.6058 | 44046.7446 | 43337.328 | 43337.328
NYISO | Summer | 31878.935 | 32699.725 | 32005.535 | 33868.665 | 34248.465 | 33358.045 | 34408.825 | 32688.5962 | 33358.045 | 34246.1993 | 35368.3997 | 34789.6974 | 33613.355
| Winter | 28756.135 | 28520.87 | 29576.925 | 28221.25 | 28122.08 | 27609.35 | 28594.72 | 29965.1959 | 27661.4648 | 28950.6765 | 28380.6759 | 28520.87 | 28520.87
ISONE | Summer | 24850.125 | 25482.825 | 25216.425 | 26573.4 | 27503.025 | 26049.85 | 27087.7 | 25316.0204 | 26049.85 | 27025.6015 | 26504.4669 | 27037.9545 | 26277.1584
| Winter | 22262.9 | 22747.6 | 22436.8 | 21121.45 | 22732.8 | 20951.25 | 22206.475 | 23178.6181 | 21392.5063 | 22165.5012 | 22287.7244 | 22206.475 | 22234.6875
Data Sources
SPP | 2024 Resource Adequacy Report
MISO | Medium and Long Term Load Forecast
ISONE | 2024 CELT Report
NYISO | 2024 Gold Book
PJM | 2025 Long-Term Load Forecast
SERC-C | NERC 2024 LTRA
SERC-E | NERC 2024 LTRA
SERC-FL | NERC 2024 LTRA
SERC-SE | NERC 2024 LTRA

## Capacity by Region
Table 2: Installed Capacity by Region, by Type (2028)
Region | Coal | Gas | Oil | Other | Nuclear | Hydro | Wind | Solar | Pumped Storage | Battery Storage | Region Total
SPP | 17990.5 | 31286.7 | 1940.5 | 679.9 | 2023.5 | 2924.9 | 33703.7 | 1077.5 | 258 | 26.7 | 91911.9
SPP-N | 5903.6 | 3698.6 | 709.4 | 103.4 | 768.5 | 2383.7 | 6456.6 | 198.1 | 0 | 4.7 | 20226.6
SPP-S | 12086.9 | 27588.1 | 1231.1 | 576.5 | 1255 | 541.2 | 27247.1 | 879.4 | 258 | 22 | 71685.3
MISO | 33647.2 | 73198.9 | 2548.8 | 9839.1 | 11827.7 | 2165.9 | 31485.7 | 16530.7 | 2673 | 179.5 | 184096.5
MISO-C | 13252.4 | 12879.9 | 612.9 | 2476.1 | 2296.5 | 488.6 | 4717.1 | 5844.5 | 440 | 137.6 | 43145.6
MISO-E | 1649.6 | 11865.3 | 436 | 1795.1 | 1161 | 247.2 | 3775.3 | 2228.4 | 2203 | 1.3 | 25362.2
MISO-S | 6566.3 | 30208.8 | 7 | 3045.1 | 5427 | 633.3 | 184.5 | 3564.8 | 30 | 10 | 49676.8
MISO-W | 12178.9 | 18244.9 | 1492.9 | 2522.8 | 2943.2 | 796.8 | 22808.8 | 4893 | 0 | 30.6 | 65911.9
SERC-C | 9871.5 | 23033.4 | 151 | 1916.3 | 8431.3 | 6506.6 | 1469.5 | 1689.7 | 1900.8 | 121 | 55091.1
SERC-SE | 10592.6 | 35492.1 | 1258.5 | 3823.6 | 8080 | 3971.9 | 0 | 5595.5 | 1814.2 | 147.7 | 70776.1
SERC-FL | 3579.3 | 52507.8 | 1905.2 | 4095.2 | 3737 | 43.5 | 0 | 14168.3 | 0 | 575.7 | 80612
SERC-E | 9039 | 24881.7 | 565.3 | 1637.6 | 12111.9 | 2387.6 | 0 | 7238.3 | 2956 | 209.3 | 61026.7
PJM | 29749.1 | 101113.3 | 3900.8 | 7345.8 | 33706.5 | 3391.3 | 11592.7 | 23353.3 | 5192 | 388.1 | 219732.9
PJM-E | 5382.3 | 33157.3 | 1860.7 | 1954.2 | 10983.5 | 845 | 1322.8 | 7137 | 1938.9 | 113.9 | 64695.6
PJM-S | 924.9 | 19932.4 | 1200.3 | 2145.8 | 5517.5 | 1227.2 | 599 | 9749.8 | 3015.1 | 97.7 | 44409.7
PJM-W | 23441.9 | 48023.6 | 839.8 | 3245.8 | 17205.5 | 1319.1 | 9670.9 | 6466.5 | 238 | 176.5 | 110627.6
NYISO | 0 | 25474.1 | 3457.3 | 1040 | 3355.8 | 4496.5 | 3518.7 | 8025.3 | 1425.1 | 254.3 | 51047.1
ISONE | 438 | 15717.3 | 6276.9 | 1928 | 3368.5 | 1948.5 | 2433.2 | 6799.1 | 1863 | 772.2 | 41544.7
EI Total | 196294 | 588304.2 | 30394.4 | 50170.3 | 134199.9 | 36318.8 | 160985.6 | 125439.2 | 26205.1 | 3268.8 | 1351580.3
Data Source
1. EIA Form 860, adjusted for projects under construction and announced retirements

## Transfer Capability
Table 3: Region-to-Region Seasonal Transfer Capability (MW)
Region From | Region To | Summer Max Interface Rating (MW) | Winter Max Interface Rating (MW)
HQ | ISONE | 2225 | 2225
HQ | NYISO | 1000 | 1000
IESO | MISO-E | 2348 | 1649
IESO | MISO-W | 2424 | 1862
IESO | NYISO | 2286 | 2719
ISONE | NYISO | 1660 | 1359
MARITIMES | ISONE | 1127 | 1265
MB HYDRO | MISO-W | 3772 | 3633
MISO-C | MISO-E | 4864 | 5585
MISO-C | MISO-S | 1797 | 4067
MISO-C | MISO-W | 7602 | 7341
MISO-C | PJM-W | 6572 | 10790
MISO-C | SERC-C | 235 | 3903
MISO-C | SPP-S | 3873 | 5635
MISO-E | MISO-C | 6344 | 6531
MISO-E | MISO-W | 160 | 160
MISO-E | PJM-W | 5603 | 5940
MISO-S | MISO-C | 2117 | 1093
MISO-S | SERC-C | 2468 | 1361
MISO-S | SERC-SE | 3600 | 3392
MISO-S | SPP-S | 3033 | 3878
MISO-W | MISO-C | 6199 | 7306
MISO-W | MISO-E | 160 | 160
MISO-W | PJM-W | 2518 | 8011
MISO-W | SERC-C | 150 | 4141
MISO-W | SPP-N | 2209 | 0
MISO-W | SPP-S | 2086 | 3801
NYISO | ISONE | 1303 | 2432
NYISO | PJM-E | 913 | 4019
PJM-E | NYISO | 1356 | 4814
PJM-E | PJM-S | 5094.0154 | 6770
PJM-E | PJM-W | 1443 | 166
PJM-S | PJM-E | 1605 | 4166
PJM-S | PJM-W | 5347 | 10942
PJM-S | SERC-E | 4665 | 5463
PJM-W | MISO-C | 6986 | 20449
PJM-W | MISO-E | 4345 | 5608
PJM-W | MISO-W | 7791 | 9086
PJM-W | PJM-E | 4762.0154 | 9815
PJM-W | PJM-S | 7040.9846 | 9035
PJM-W | SERC-C | 5444 | 5786
PJM-W | SERC-E | 5318 | 4286
SASK POWER | SPP-N | 165 | 663
SERC-C | MISO-C | 8288 | 8441
SERC-C | MISO-S | 1457 | 3342
SERC-C | MISO-W | 3671 | 6877
SERC-C | PJM-W | 6646 | 6710
SERC-C | SERC-E | 2419 | 3311
SERC-C | SERC-SE | 1095 | 5387
SERC-C | SPP-N | 1183 | 0
SERC-C | SPP-S | 5042 | 6445
SERC-E | PJM-S | 4596 | 4963
SERC-E | PJM-W | 5185 | 4448
SERC-E | SERC-C | 3257 | 2675
SERC-E | SERC-SE | 1703 | 3536
SERC-FL | SERC-SE | 1322 | 0
SERC-SE | MISO-S | 1638 | 4028
SERC-SE | SERC-C | 6579 | 4639
SERC-SE | SERC-E | 2397 | 3669
SERC-SE | SERC-FL | 2958 | 1807
SPP-N | MISO-W | 623 | 778
SPP-N | SERC-C | 128 | 1102
SPP-N | SPP-S | 1501 | 1785
SPP-S | MISO-C | 2481 | 2420
SPP-S | MISO-S | 4295 | 4336
SPP-S | MISO-W | 3323 | 1196
SPP-S | SERC-C | 859 | 5591
SPP-S | SPP-N | 1705 | 1785

## Total Import Limits
Table 4: Total Import Capabilities (MW)
Region | Non-Coincident Import Capability1 | Simultaneous Import Capability2 | RA Import Limit3
SPP-N | 5260 | 2210 | 2100
SPP-S | 15540 | 6450
MISO-W | 29370 | 7790 | 5000
MISO-C | 32420 | 12710
MISO-E | 11720 | 5140
MISO-S | 9190 | 4300
SERC-C | 19120 | 8440 | 4500
SERC-SE | 7720 | 6530 | 900
SERC-FL | 2960 | 2960 | 200
SERC-E | 14800 | 5460 | 590
PJM-W | 33310 | 10940 | 3500
PJM-S | 16730 | 9580
PJM-E | 7280 | 4760
NYISO | 6300 | 2800 | 4610
ISONE | 4660 | 2310 | 3980
Notes
1. Non-coincident import capability is used for reporting only and is not considered by the GridPath model. It is the sum of each the individual summer transfer capabilities into each region. Data Source: NERC Interregional Transfer Capability Study
2. Total simultaneous import capability reflects the coincident import capability into a region for the season with the highest loss of load risk. Data Source: NERC Interregional Transfer Capability Study
3. RA import limit sets the a non-technical limt on total imports into a region (or aggregated ISO) based on assumptions of market assistance. Data Source: see below.
Data Sources for RA Imports
a. SPP, LOLE Study Scope report, 2025. b. MISO, MISO Planning Year 2024-2025 Loss of Load Expectation Study Report. [midpoint of non-firm RA range] c. SERC-C, TVA 2025 Integrated Resource Plan, Resource Adequacy Study. d. SERC-SE, Southern Company 2024 Reserve Margin Study. e. SERC-FL, 2024 NERC LTRA. [firm transfers] f. SERC-E, 2024 NERC LTRA. [firm transfers] g. PJM, PJM 2023 Capacity Benefits of Ties Study. h. NYISO, NYISO 2024 Reliability Needs Study. i. ISONE, ISO New England Tie Benefits Methodology Evaluation.

## Proxy Gen Statistics
Table 5: Proxy Import Generators from Western Interconnection and Canada
Proxy Generator | Interface Representation | Summer Capacity (MW) | Winter Capacity (MW) | Median Daily Capacity Factor | Median Daily Summer Budget (MWh) | Median Daily Winter Budget (MWh)
HQ | Hydro Quebec to NYISO, ISONE | 3840 | 3500 | 68.28% | 62870 | 57370
IESO | IESO (Ontario) to MISO-W, MISO-E, NYISO | 2760 | 2850 | 57.19% | 45220 | 46700
MARITIMES | Maritimes to ISONE | 830 | 840 | 28.11% | 13630 | 13750
MB HYDRO | MB Hydro (Manitoba) to MISO-W | 2380 | 1830 | 36.95% | 38950 | 30040
SASK POWER | SaskPower (Saskatchewan) to SPP-N | 140 | 140 | 7.042% | 2330 | 2330
SPP-N | Western Interconnect to SPP-N | 280 | 280 | 3.597% | 4560 | 4570
SPP-S | Western Interconnect to SPP-S | 1130 | 1200 | 24.51% | 18470 | 19600
Data Sources
1. Winter and Summer Capacity (MW) represent the 99th percentile of net exports out of each region
2. Median Daily Budgets (MWh) sampled from historical observed flows in EIA Form 930
3. Interfaces into regions are further limited by the region-to-region transfer capability and the total import capability